Protocol: PH Measurement using BCECF in Cell-Free Systems

1. Reagent Preparation

- Stock Solution: Resuspend the BCECF powder in MilliQ water to a final concentration of 10 mM.

- Working Solution: Dilute the stock solution in MilliQ water to reach a 100 µM concentration.

- Storage: Store both solutions at 4°C, protected from light.

2. Sample Preparation (myTXTL Mix)

- Thaw one tube of myTXTL on ice.

- Add the DNA template to reach a final concentration of 5 nM.

- Adjust the volume with MilliQ water to reach 90% of the target final volume.

- Add the 100 µM BCECF solution to reach a final concentration of 10 µM (completing the remaining 10% of the volume).

- Mixing: Mix gently by pipetting up and down.

- Centrifugation: Briefly spin down the tube to collect the mixture and remove air bubbles.

3. Plate Loading and Measurement

- Dispense 2 µL of the mixture per well into a 96-well plate.

- Place the plate into the Neo2 plate reader.

- Kinetics Settings: Run a 24-hour kinetic assay with measurements every 3 minutes at gain 40 ms.

- Fluorescence Parameters: Perform ratiometric imaging using the following excitation/emission pairs:

  - 440 nm / 520 nm

  - 490 nm / 520 nm

4. Data Analysis

- Process the raw fluorescence data by calculating the ratio of the two signals

- Convert the ratio values into pH measurements using a pre-established calibration curve.