## Plate 5 - Sheet1
Software Version | 3.02.1
Experiment File Path:
Protocol File Path:
Plate Number | Plate 5
Date | 2025-09-10
Time | 14:01
Reader Type: | Synergy Neo2
Reader Serial Number: | 1611072
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 440/20, Emission: 535/20
Optics: Bottom, Gain: 40
Filter Set 2
Excitation: 490/20, Emission: 535/20
Optics: Bottom, Gain: 40
Light Source: Xenon Flash, Lamp Energy: Low, Standard Dynamic Range
Read Speed: Normal, Delay: 0 msec, Measurements/Data Point: 10
Read Height: 4.5 mm
Results
Actual Temperature: | 25.1
Actual Temperature: | 25.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 3 | 2 | 2 | 3 | 2 | 3 | 3 | 4 | 3 | 4 | 3 | 3 | 440535
|  | 1 | 2 | 0 | 2 | 1 | 1 | 2 | 1 | 1 | 1 | 2 | 1 | 490535
| B | 4 | 3 | 2 | 4 | 2 | 3 | 3 | 4 | 3 | 3 | 3 | 4 | 440535
|  | 0 | 1 | 2 | 1 | 2 | 0 | 1 | 1 | 2 | 2 | 1 | 1 | 490535
| C | 3 | 2 | 3 | 80 | 28 | 38 | 40 | 43 | 4 | 3 | 4 | 4 | 440535
|  | 1 | 2 | 2 | 529 | 90 | 154 | 119 | 90 | 2 | 1 | 2 | 1 | 490535
| D | 3 | 3 | 3 | 201 | 81 | 112 | 130 | 108 | 2 | 4 | 3 | 3 | 440535
|  | 1 | 1 | 2 | 1496 | 532 | 741 | 723 | 385 | 1 | 1 | 1 | 1 | 490535
| E | 3 | 3 | 4 | 10 | 8 | 8 | 12 | 9 | 7 | 3 | 3 | 4 | 440535
|  | 1 | 1 | 8 | 4 | 2 | 3 | 3 | 3 | 3 | 1 | 0 | 1 | 490535
| F | 4 | 3 | 2 | 9 | 3 | 9 | 7 | 8 | 6 | 3 | 4 | 4 | 440535
|  | 0 | 1 | 0 | 3 | 2 | 3 | 1 | 4 | 3 | 0 | 1 | 1 | 490535
| G | 3 | 2 | 139 | 135 | 113 | 130 | 94 | 115 | 3 | 3 | 3 | 4 | 440535
|  | 1 | 0 | 164 | 586 | 567 | 802 | 591 | 1018 | 1 | 1 | 1 | 0 | 490535
| H | 3 | 3 | 220 | 162 | 172 | 199 | 219 | 161 | 4 | 3 | 3 | 3 | 440535
|  | 2 | 1 | 326 | 744 | 992 | 1350 | 1650 | 1476 | 1 | 1 | 1 | 0 | 490535
|  | 5: 6; 6: 6.5; 7: 7; 8: 7.5; 9: 8; 10: 8.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5
|  | 5: 1.1799; 6: 4.3407; 7: 5.0177; 8: 6.1692; 9: 6.2872; 10: 8.8522 | 1.3308 | 4.4667 | 5.3926 | 6.4766 | 6.9107 | 9.0099
|  | 5: 1.4818; 6: 4.5926; 7: 5.7674; 8: 6.7839; 9: 7.5342; 10: 9.1677 | 0.15098 | 0.12593 | 0.37487 | 0.30734 | 0.62351 | 0.15776
|  | 12: Ratio | 1.3308 | 4.4667 | 5.3926 | 6.4766 | 6.9107 | 9.0099
[14 empty] | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | bar: 12